| MWNT# | Date | Force Curve (d,l) | Freq-spectrum | Gold colloids | Image | TEM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 03-04-03 16-04-03 | yes | yes | - | yes | yes | Dead |
| 5 | 04-04-03 | yes | Yes | Yes | Yes | Yes | Is there a NT? |
| 6 | ? 15-04-03 | yes | Yes | Yes | Yes | Yes | Henriette |
| 7 | 26-03-03 15-04-03 | - | - | - | Yes | Yes | Lysine.txt Dead |
| 12 | 07-04-03 | Yes | Yes | Yes | Yes |  | Dirt on tip? Dead |
| 13 | 07-04-03 | Yes | Yes | - | - | Yes | Too long Dead, liquid |
| 14 | 08-04-03 | Yes | Yes | - | - | Yes | Too long Dead, liquid |
| 15 | 08-04-03 | Yes | Yes | - | - | - | Too long Dead, liquid |
| 17 | 16-05-03 | Yes | Yes | - | - |  | Probably Dead |
| 18 | 16-05-03 19-05-03 | Yes strange | Yes | - | - |  | Adhesion? Dead, liquid |
| 24 | 22-04-03 | Yes | - | - | - | - | dead |
| 26 | 22-04-03 | Yes | - | - | - | Yes | Cantilever charges |
| 27 | 22-04-03 | Yes | - | - | - | - | dead |
| 32 | 11-04-03 | Yes | Yes | - | - | Yes | Too long |
| 34 | 11-04-03 | - | - | Yes | Yes | - | Nice |
| 35 | 15-05-03 | Yes | yes | Yes | Yes |  | dead |

| MWNT# | Date | Force Curve (d,l) | Freq-spectrum | Gold colloids | Image | TEM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 19 | 26-05-03 | Yes | Yes | - | - | - | Too long |