Gratings for calibration of the scanners

Room 702:

DI	10 m pitch, squares, 200 nm deep (nominal, not intended for z calibration)         2 gratings  P/N 498-000-026

278 nm (Martin Dienwiebel) reference for fine calibration. Al lines on glass.

Height ~30nm.

Images with scanner 4645ev before calibration:

Was this a tip change? scanning direction up (!)

10:th floor (Claudiu)

DI  	10 m pitch squares, 200 nm deep (nominal?)

Room 706:

MI 	~2160 lines/mm > pitch 463nm, Waffle pattern. height ~31nm

Images with Nanoscope and scanner 4645ev (before calibration)

Images with MI (Emanuelle)