Samples March 2003

20 μl  of pMBL 1 μg/ml in 0.1M Tris pH 7.3 on freshly cleaved mica.

Incubate around 15 minutes.

Rinse with DI water approximately 30 seconds.

Incubation with pMBL 10 μg/ml gave rather high coverage.

Further dilution with Tris to 1 µg/ml gave nice coverage, but the picture quality is still bad:

(pics made with low scan speed on fresh mica with new tip, thermal equilibration necessary, puck seams to be still cold after incubation with sample from fridge)